{"text_format":"1","workbook":"xlsx","n_sheets":11,"sheets":["Kontakt","Höje å, stationsvis","Kommentarer","Höje å, månadsvis","Bedömningsgrunder","Metaller Höje å","Vattenföring","Diagram syre, kväve, fosfor","Bekämpningsmedel","PFAS","Läkemedelsrester"],"not_rendered":{"charts":1,"images":7,"macros":1,"external_links":0,"defined_names":2,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Kontakt","index":0,"n_rows":26,"n_cols":6,"rows_kept":26,"cut":false,"hidden":false,"merged":[[16,0,16,6],[15,0,15,6],[3,0,3,6]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[]
[]
["Konsult"]
[null,"SGS Analytics Sweden AB",null,null,null,"Postadress:"]
[null,"Marie Petersson",null,null,null,"SGS Analytics Sweden AB"]
[null,"Miljökonsult ",null,null,null,"Box 1083"]
[null,"Tel: 0736 338305",null,null,null,"581 10 LINKÖPING"]
[]
[null,"e-post:"]
[null,"marie.petersson@sgs.com"]
[]
[null,"hemsida:"]
[null,"sgs.com/analytics-se"]
[]
[]
["Uppdragsgivare"]
[null,"Höje å Vattenråd",null,null,null,"Postadress:"]
[null,"Elin Svensson",null,null,null,"Höje å vattenråd"]
[null,null,null,null,null,"Tekniska förvaltningen"]
[null,null,null,null,null,"Box 41"]
[null,"e-post:",null,null,null,"221 00 Lund"]
[null,"Elin.Svensson@lund.se"]
[]
[null,"hemsida:"]
[null,"www.höjeå.se"]

{"sheet":"Höje å, stationsvis","index":1,"n_rows":161,"n_cols":24,"rows_kept":161,"cut":false,"hidden":false,"merged":[[10,5,10,6]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[null,null,null,null,null,"Sikt-","Sikt-","Klo","Tur","Kon","Syr","Syre",null,"Nitrat",null,null,null,null,null,null,null,"Int."]
[null,null,null,null,null,"djup","djup","ro","bidi","duk","gas ","mätt","NH4","Nitrit","Total","Fosfat","Total",null,"Absor-",null,null,"entero","Total","Prov-"]
["PROVPUNKT","ID","Datum","Temp.","pH","u. vk.","m. vk","fyll","tet","tivitet","halt","nad","kväve","kväve","kväve","fosfor","fosfor","BOD7","bans","Mg","E coli","kock.","bakt","nummer"]
[null,null,null,"°C",null,"m","m","µg/l","FNU","mS/m","mg/l","%","µg/l","µg/l","µg/l","µg/l","µg/l","mg/l","/5cm","mg/l","MPN/100ml","cfu/100ml","cfu/100ml"]
["Björkesåkrasjön",1,"2025-02-20",3,8.1999999999999993,0.3,"-",29,5,45.5,15.74,115.4,17,2900,4100,2.2000000000000002,41,null,0.24,5.2,null,null,null,25077654]
["Björkesåkrasjön",1,"2025-05-23",12,9,1,1,3.4,2.2999999999999998,33.5,10.7,"-",23,"<10",1900,"<2",33,null,0.13,5.6,null,null,null,25238837]
["Björkesåkrasjön",1,"2025-06-13",18.399999999999999,9.8000000000000007,">1",">1",1.5,2.2999999999999998,20.8,13.4,"-","<10","<10",1400,"<2",33,null,0.13,4.4000000000000004,null,null,null,25274399]
["Björkesåkrasjön",1,"2025-07-17",19.600000000000001,9.4,">1",">1",7.2,2.2000000000000002,20.100000000000001,8.16,"-","<10","<10",1800,"<2",33,null,0.12,4.7,null,null,null,25332108]
["Björkesåkrasjön",1,"2025-08-26",16,10.1,">1",">1",4.5999999999999996,2.6,22.7,11.7,"-",14,"<50",2100,3.4,36,null," - "," - ",null,null,null,25383983]
["Björkesåkrasjön",1,"2025-09-18",14.5,8,"igenväxt",null,13,8,29.6,6.9,"-",52,"<10",2300,"<2",63,null,0.15,5,null,null,null,25427507]
["Björkesåkraån: Nymölla",2,"2025-01-10",2,7.4,null,null,null,10,38.9,12.6,90,76,3900,4500,28,59,null,null,null,null,null,null,25008152]
["Björkesåkraån: Nymölla",2,"2025-02-13",0.7,7.5,null,null,null,7.9,43.7,11.7,81,39,2300,3000,7.1,44,null,null,null,null,null,null,25065522]
["Björkesåkraån: Nymölla",2,"2025-03-20",6.1,7.7,null,null,null,18,42.8,11.22,89,63,610,1800,8.9,69,null,null,null,null,null,null,25125483]
["Björkesåkraån: Nymölla",2,"2025-04-11",11.3,7.9,null,null,null,5.8,43.4,10.72,98.3,18,180,1500,17,81,null,null,null,null,null,null,25162982]
["Björkesåkraån: Nymölla",2,"2025-05-16",15.1,7.6,null,null,null,3.3,44,9.08,89.1,24,"<10",1400,52,100,null,null,null,null,null,null,25220517]
["Björkesåkraån: Nymölla",2,"2025-06-19",16,7.5,null,null,null,2.9,45.3,3.7,36.799999999999997,110,"<10",1400,96,150,null,null,null,null,null,null,25286770]
["Björkesåkraån: Nymölla",2,"2025-07-11",16,7.5,null,null,null,4.2,39.700000000000003,1.92,19.5,23,17,630,75,130,null,null,null,null,null,null,25323554]
["Björkesåkraån: Nymölla",2,"2025-08-15",16,7.5,null,null,null,4.0999999999999996,53.3,2.0499999999999998,19.2,120,19,1100,74,240,null,null,null,null,null,null,25360817]
["Björkesåkraån: Nymölla",2,"2025-09-15",13,7.7,null,null,null,4.8,31.9,7.8,76,12,72,430,24,40,null,null,null,null,null,null,25417189]
["Björkesåkraån: Nymölla",2,"2025-10-10",11.9,7.8,null,null,null,4.3,42.7,8.6300000000000008,79.3,23,910,1600,17,41,null,null,null,null,null,null,25468669]
["Björkesåkraån: Nymölla",2,"2025-11-14",7.7,7.6,null,null,null,3.3,59.5,8.92,76,76,980,3200,13,33,null,null,null,null,null,null,25529885]
["Björkesåkraån: Nymölla",2,"2025-12-12",7.1,7.4,null,null,null,4.8,47.9,9.4600000000000009,78,52,2900,4100,5,46,null,null,null,null,null,null,25567995]
["Häckebergasjön",3,"2025-02-20",2.5,7.9,"-","-",6.7,2.6,42.8,13.38,96.6,77,3300,4400,18,42,null,0.2,4.7,null,null,null,25077655]
["Häckebergasjön",3,"2025-05-23",14.8,8.1999999999999993,0.8,0.8,33,12,43,8.9,"-","<10","<10",1800,"<2",110,null,0.12,4.9000000000000004,null,null,null,25238838]
["Häckebergasjön",3,"2025-06-13",18.7,8.9,0.4,0.5,73,21,39.9,15.17,"-","<10","<10",1800,"<2",98,null,0.1,5,null,null,null,25274400]
["Häckebergasjön",3,"2025-07-17",20.7,8.6999999999999993,0.4,0.5,78,22,35.799999999999997,10.37,"-","<10","<50",2000,"<2",96,null,9.1999999999999998E-2,5.0999999999999996,null,null,null,25332109]
["Häckebergasjön",3,"2025-08-26",21,8.6,0.4,0.5,41,17,36.4,12,"-","<10","<50",1700,5.0999999999999996,110,null,9.0999999999999998E-2,5.3,null,null,null,25383987]
["Häckebergasjön",3,"2025-09-18",16.100000000000001,8.3000000000000007,"-",0.7,70,15,36.700000000000003,9.3000000000000007,"-","<10","<50",1900,"<2",110,null,7.8E-2,5,null,null,null,25427508]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-01-10",2.4,7.9,null,null,null,8.6,41,13,96,120,4400,4900,31,64,null,null,null,null,null,null,25008153]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-02-13",1.5,7.9,null,null,null,3,42.6,13.5,95,54,3100,3400,20,45,null,0.17,4.8,null,null,null,25065523]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-03-20",5.5,7.9,null,null,null,4,42.5,12,94,37,1400,2200,6.9,40,null,0.13,5.4,null,null,null,25125484]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-04-11",9.5,7.9,null,null,null,4.4000000000000004,42.6,10.41,91.4,40,800,1500,"<2",52,null,0.1,5.3,null,null,null,25162980]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-05-16",12.3,7.8,null,null,null,10,49.1,9.27,86.1,50,350,1200,18,80,null,9.0999999999999998E-2,6.3,null,null,null,25220514]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-06-19",13.7,7.8,null,null,null,15,50.4,8.1999999999999993,77.5,70,410,1800,"<2",120,null,7.3999999999999996E-2,6.4,null,null,null,25286766]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-07-11",13.4,7.7,null,null,null,8.9,48,7.43,71.400000000000006,83,540,1300,8.4,92,null,6.8000000000000005E-2,6.5,null,null,null,25323553]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-08-15",16.3,7.7,null,null,null,11,53.7,7.3,70.8,72,430,1500,13,110,null,8.7999999999999995E-2,7,null,null,null,25360818]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-09-15",12.1,7.6,null,null,null,7.3,52.9,8.3000000000000007,78,74,530,1200,16,77,null,5.2999999999999999E-2,7.5,null,null,null,25417191]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-10-10",11,7.8,null,null,null,6.8,51.7,8.4700000000000006,75.400000000000006,44,380,1400,4.4000000000000004,83,null,6.8000000000000005E-2,6.6,null,null,null,25468670]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-11-14",8.1,7.7,null,null,null,2.9,47,9.4600000000000009,79.099999999999994,91,610,1500,4.9000000000000004,40,null,8.1000000000000003E-2,5.8,null,null,null,25529884]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-12-12",6.7,7.8,null,null,null,2.6,47.3,10.55,85.7,210,1800,2600,7.6,48,null,0.11,5.5,null,null,null,25567994]
["Höje å: Bjällerup",10,"2025-01-10",2.7,7.9,null,null,null,11,45,12.9,95,75,5100,5400,41,80,null,null,null,null,null,null,25008154]
["Höje å: Bjällerup",10,"2025-02-13",1.4,8,null,null,null,8.5,47.7,13.9,98,27,3700,3900,30,60,null,null,null,null,null,null,25065525]
["Höje å: Bjällerup",10,"2025-03-20",7.8,8.6,null,null,null,4.0999999999999996,60.9,">20",173.4,1100,4700,5500,270,330,null,null,null,null,null,null,25125485]
["Höje å: Bjällerup",10,"2025-04-11",10.1,8.4,null,null,null,7.3,45.5,15.9,135,"<10",960,1400,8.5,47,null,null,null,null,null,null,25162978]
["Höje å: Bjällerup",10,"2025-05-16",15.9,8.4,null,null,null,3,58.2,11.01,166.1,19,1100,1700,89,120,null,null,null,null,null,null,25220513]
["Höje å: Bjällerup",10,"2025-06-19",17.100000000000001,7.9,null,null,null,6.7,53,9.24,94.7,20,350,1100,66,110,null,null,null,null,null,null,25286765]
["Höje å: Bjällerup",10,"2025-07-11",16.5,7.8,null,null,null,2.7,50.3,7.01,71.3,10,440,860,79,100,null,null,null,null,null,null,25325207]
["Höje å: Bjällerup",10,"2025-08-15",18.7,7.8,null,null,null,2.2000000000000002,58.4,5.34,55.5,14,110,650,61,92,null,null,null,null,null,null,25360819]
["Höje å: Bjällerup",10,"2025-09-15",14.2,7.8,null,null,null,2.2999999999999998,48.1,7.9,78.400000000000006,10,470,800,46,62,null,null,null,null,null,null,25417193]
["Höje å: Bjällerup",10,"2025-10-10",12.1,8.1,null,null,null,3.4,56.2,10.28,94.3,"<10",1400,2000,53,81,null,null,null,null,null,null,25468693]
["Höje å: Bjällerup",10,"2025-11-14",8.6,7.9,null,null,null,3.7,52.4,10.49,89.9,12,1500,2000,38,66,null,null,null,null,null,null,25529882]
["Höje å: Bjällerup",10,"2025-12-12",7.2,7.9,null,null,null,6.7,54.7,9.5500000000000007,77.7,44,4500,5000,24,77,null,null,null,null,null,null,25567993]
["Dalbyån: Bjällerup",11,"2025-01-10",3.8,7.9,null,null,null,13,64.900000000000006,12.2,93,270,10000,9600,110,150,null,null,null,null,null,null,25008155]
["Dalbyån: Bjällerup",11,"2025-02-13",1.7,8.1,null,null,null,9.6,69.599999999999994,15.1,107,1100,7000,7200,160,200,null,null,null,null,null,null,25065527]
["Dalbyån: Bjällerup",11,"2025-03-20",6.1,8.3000000000000007,null,null,null,8.1999999999999993,46,15.5,123.5,"<10",1800,2100,14,52,null,null,null,null,null,null,25125486]
["Dalbyån: Bjällerup",11,"2025-04-11",11.6,8.8000000000000007,null,null,null,3.6,56.8,">20",">200","<10",1700,2200,30,120,null,null,null,null,null,null,25162977]
["Dalbyån: Bjällerup",11,"2025-05-16",13.8,8.1,null,null,null,3.4,51.6,12.96,130.4,28,590,1100,47,87,null,null,null,null,null,null,25220511]
["Dalbyån: Bjällerup",11,"2025-06-19",17.5,8.1,null,null,null,3.9,53.7,10.48,109.4,17,150,830,120,160,null,null,null,null,null,null,25286764]
["Dalbyån: Bjällerup",11,"2025-07-11",17.899999999999999,7.7,null,null,null,4.0999999999999996,39.4,7.15,75,30,710,1100,220,260,null,null,null,null,null,null,25325208]
["Dalbyån: Bjällerup",11,"2025-08-15",20.8,7.8,null,null,null,4.5,55,7.05,78,12,220,940,260,380,null,null,null,null,null,null,25360820]
["Dalbyån: Bjällerup",11,"2025-09-15",14.9,7.7,null,null,null,1.2,39.799999999999997,8.26,83,"<10","<10",360,220,230,null,null,null,null,null,null,25417195]
["Dalbyån: Bjällerup",11,"2025-10-10",12.8,8.3000000000000007,null,null,null,4,57.1,12.76,119.2,"<10",1200,1700,77,100,null,null,null,null,null,null,25468694]
["Dalbyån: Bjällerup",11,"2025-11-14",8.1,8.3000000000000007,null,null,null,4.9000000000000004,70.5,13.82,117.1,"<10",2800,3100,64,87,null,null,null,null,null,null,25529881]
["Dalbyån: Bjällerup",11,"2025-12-12",7.6,7.8,null,null,null,11,76.400000000000006,11.23,92.9,36,9900,11000,20,94,null,null,null,null,null,null,25567992]
["Råbydiket: Södra grenen","15:1","2025-01-10",4.4000000000000004,7.8,null,null,null,5,64.099999999999994,12.1,94,22,13000,12000,44,56,null,null,null,null,null,null,25008156]
["Råbydiket: Södra grenen","15:1","2025-02-13",2.4,8,null,null,null,2.7,67.099999999999994,14.2,103,23,9900,9300,35,47,null,null,null,null,null,null,25065528]
["Råbydiket: Södra grenen","15:1","2025-03-20",6.1,8.5,null,null,null,7.1,55.7,19.829999999999998,154.5,"<10",6100,6100,6.2,46,null,null,null,null,null,null,25125487]
["Råbydiket: Södra grenen","15:1","2025-04-11",9.4,8.3000000000000007,null,null,null,1,52.6,16.45,143.19999999999999,18,4300,4600,"<2",24,null,null,null,null,null,null,25162976]
["Råbydiket: Södra grenen","15:1","2025-05-16",12.4,7.7,null,null,null,1.6,58.5,75,74.7,52,4500,4600,69,91,null,null,null,null,null,null,25220510]
["Råbydiket: Södra grenen","15:1","2025-06-19",13.5,7.6,null,null,null,1.8,58.6,4.76,44.6,94,1300,2000,80,100,null,null,null,null,null,null,25286763]
["Råbydiket: Södra grenen","15:1","2025-07-11",15.4,7.6,null,null,null,3,51.3,5.23,52.1,68,1400,1900,210,250,null,null,null,null,null,null,25323550]
["Råbydiket: Södra grenen","15:1","2025-08-15",15.2,7.6,null,null,null,2.2000000000000002,65.5,4.8899999999999997,48.5,100,1600,2100,130,170,null,null,null,null,null,null,25360822]
["Råbydiket: Södra grenen","15:1","2025-09-15",13.3,7.7,null,null,null,1.8,70.2,6.9,67,48,3800,4300,140,150,null,null,null,null,null,null,25417196]
["Råbydiket: Södra grenen","15:1","2025-10-10",11.9,7.9,null,null,null,1.8,81.099999999999994,7.37,67.7,24,8800,8800,59,85,null,null,null,null,null,null,25468695]
["Råbydiket: Södra grenen","15:1","2025-11-14",8.8000000000000007,7.8,null,null,null,2.2999999999999998,80,8.5299999999999994,73.599999999999994,26,8300,8500,60,75,null,null,null,null,null,null,25529880]
["Råbydiket: Södra grenen","15:1","2025-12-12",7.6,7.7,null,null,null,5.8,76.8,10.47,86.4,71,14000,14000,2.2000000000000002,70,null,null,null,null,null,null,25567990]
["Dynnbäck: Vesumsvägen",17,"2025-01-10",3.5,7.6,null,null,null,4.7,76.900000000000006,7.9,60,1300,5100,5600,61,100,"<3",null,null,null,null,null,25008157]
["Dynnbäck: Vesumsvägen",17,"2025-02-13",2.8,7.7,null,null,null,7.8,86.5,8.6999999999999993,63,310,4100,4600,33,130,"<3",null,null,null,null,null,25065537]
["Dynnbäck: Vesumsvägen",17,"2025-03-20",6.3,7.6,null,null,null,7.6,86,8.76,70.2,180,5000,5500,31,180,"<2",null,null,null,null,null,25125488]
["Dynnbäck: Vesumsvägen",17,"2025-04-11",10.3,7.7,null,null,null,13,74.3,7.93,71.099999999999994,190,4800,5500,31,210,"<2",null,null,null,null,null,25162975]
["Dynnbäck: Vesumsvägen",17,"2025-05-16",14.5,7.7,null,null,null,7.2,75.5,1,1,110,3600,4400,36,120,2.9,null,null,null,null,null,25220509]
["Dynnbäck: Vesumsvägen",17,"2025-06-19",16.899999999999999,7.8,null,null,null,3,73.2,7.86,79.599999999999994,220,1700,2900,53,110,2.1,null,null,null,null,null,25286762]
["Dynnbäck: Vesumsvägen",17,"2025-07-11",18.2,7.3,null,null,null,2.4,50.5,1.92,19.5,180,1100,1800,80,130,2.1,null,null,null,null,null,25323549]
["Dynnbäck: Vesumsvägen",17,"2025-08-15",19.899999999999999,7.4,null,null,null,2.8,70.099999999999994,2.62,29.3,490,2700,3800,58,120,"<2",null,null,null,null,null,25360824]
["Dynnbäck: Vesumsvägen",17,"2025-09-15",14.5,7.3,null,null,null,2.8,55,4.5,45,1500,1300,3000,50,90,"<2",null,null,null,null,null,25417197]
["Dynnbäck: Vesumsvägen",17,"2025-10-10",12.5,7.6,null,null,null,4,61.1,5.97,55.4,110,1300,2100,68,130,"<2",null,null,null,null,null,25468696]
["Dynnbäck: Vesumsvägen",17,"2025-11-14",9.1,7.5,null,null,null,11,72.599999999999994,3.8,33.299999999999997,1200,1300,3200,110,230,"<2",null,null,null,null,null,25529879]
["Dynnbäck: Vesumsvägen",17,"2025-12-12",8.6999999999999993,7.4,null,null,null,2.4,73,5.4,45.9,100,2000,2600,45,96,"<2",null,null,null,null,null,25567989]
["Höje å: Knästorp","18b","2025-01-10",3.1,7.8,null,null,null,11,54.1,12.9,97,180,6700,7200,52,90,"<3",null,null,null,null,null,25008158]
["Höje å: Knästorp","18b","2025-02-13",1.4,7.9,null,null,null,9.8000000000000007,60,13.3,94,130,4700,4800,44,89,"<3",null,null,null,null,null,25065540]
["Höje å: Knästorp","18b","2025-03-20",5,8,null,null,null,5.9,58.1,13.03,100.9,120,2600,3000,33,86,"<2",null,null,null,null,null,25125489]
["Höje å: Knästorp","18b","2025-04-11",8.6999999999999993,8,null,null,null,4,53.1,10.79,92.9,37,1600,2000,12,62,"<2",null,null,null,null,null,25162974]
["Höje å: Knästorp","18b","2025-05-16",13.4,8,null,null,null,4.0999999999999996,59.6,10.56,100.7,46,1100,1800,56,100,"<2",null,null,null,null,null,25220508]
["Höje å: Knästorp","18b","2025-06-19",17,7.9,null,null,null,4.7,60,7.52,77.099999999999994,53,710,1600,93,150,"<2",null,null,null,null,null,25286761]
["Höje å: Knästorp","18b","2025-07-11",18.100000000000001,7.7,null,null,null,4.8,46.1,6.65,70,66,710,1200,130,170,"<2",null,null,null,null,null,25323548]
["Höje å: Knästorp","18b","2025-08-15",19.3,7.7,null,null,null,2.7,63.7,5.36,57.8,51,920,1500,97,140,"<2",null,null,null,null,null,25360825]
["Höje å: Knästorp","18b","2025-09-15",14.6,7.6,null,null,null,2.2000000000000002,48.5,5.77,57,100,560,1100,92,110,"<2",null,null,null,null,null,25417198]
["Höje å: Knästorp","18b","2025-10-10",12,7.9,null,null,null,2.6,61.8,7.5,69.2,36,2200,2800,65,110,"<2",null,null,null,null,null,25468697]
["Höje å: Knästorp","18b","2025-11-14",8.4,7.9,null,null,null,4.2,60.2,9.6300000000000008,82.1,100,2000,2600,60,92,"<2",null,null,null,null,null,25529878]
["Höje å: Knästorp","18b","2025-12-12",7.5,7.8,null,null,null,14,66.8,10.42,85.9,72,7300,7500,31,96,"<2",null,null,null,null,null,25567988]
["Höje å: Uppströms Källby ARV",20,"2025-01-10",3.2,7.8,null,null,null,13,55,12.4,93,170,6700,6700,54,92,"<3",0.11,null,null,null,null,25008159]
["Höje å: Uppströms Källby ARV",20,"2025-02-13",1.4,8,null,null,null,13,59.5,13.1,92,120,4700,4800,47,93,"<3",0.1,8.1999999999999993,null,null,null,25065543]
["Höje å: Uppströms Källby ARV",20,"2025-03-20",4.8,8,null,null,null,7.6,55.6,12.23,94.1,71,2800,2900,36,84,"<2",7.6999999999999999E-2,9.8000000000000007,null,null,null,25125490]
["Höje å: Uppströms Källby ARV",20,"2025-04-11",9.4,8.1,null,null,null,3.8,53.6,10.69,93.4,33,1400,1900,26,65,"<2",7.6999999999999999E-2,9.4,null,null,null,25162972]
["Höje å: Uppströms Källby ARV",20,"2025-05-16",13.5,7.9,null,null,null,5.5,60.6,8.66,82.6,70,1000,1700,74,120,"<2",6.3E-2,10,null,null,null,25220506]
["Höje å: Uppströms Källby ARV",20,"2025-06-19",17.5,7.8,null,null,null,3.4,61.7,6.55,68.099999999999994,71,620,1400,120,180,"<2",6.9000000000000006E-2,10,null,null,null,25286760]
["Höje å: Uppströms Källby ARV",20,"2025-07-11",18.2,7.6,null,null,null,5.4,42,6.16,65.7,59,800,1200,160,200,"<2",8.3000000000000004E-2,6.8,null,null,null,25323547]
["Höje å: Uppströms Källby ARV",20,"2025-08-15",19.2,7.7,null,null,null,2.5,65.400000000000006,4.68,50.4,44,840,1400,130,180,"<2",6.6000000000000003E-2,10,null,null,null,25360826]
["Höje å: Uppströms Källby ARV",20,"2025-09-15",14.9,7.5,null,null,null,1.6,46.9,6.25,62,54,580,980,130,150,"<2",5.6000000000000001E-2,7.9,null,null,null,25417199]
["Höje å: Uppströms Källby ARV",20,"2025-10-10",12.1,7.8,null,null,null,1.8,61.9,6.74,62.1,56,2100,2800,84,130,"<2",5.6000000000000001E-2,9.5,null,null,null,25468698]
["Höje å: Uppströms Källby ARV",20,"2025-11-14",8.9,7.8,null,null,null,4.9000000000000004,62,8.43,72.7,52,2000,2400,69,110,"<2",6.3E-2,9.4,null,null,null,25529877]
["Höje å: Uppströms Källby ARV",20,"2025-12-12",7.5,7.8,null,null,null,9.1,67.400000000000006,10.02,83,51,7300,7600,38,100,"<2",6.9000000000000006E-2,9.8000000000000007,null,null,null,25567987]
["Höje å: Nedströms Källby ARV",21,"2025-01-10",3.2,7.8,null,null,null,12,59,12.1,90,320,6600,6700,56,97,"<3",null,null,null,null,null,25008160]
["Höje å: Nedströms Källby ARV",21,"2025-02-13",1.6,7.9,null,null,null,8.5,65.099999999999994,13,92,180,5000,5000,49,100,"<3",null,null,null,null,null,25065546]
["Höje å: Nedströms Källby ARV",21,"2025-03-20",5.5,7.8,null,null,null,4,65.8,11.95,93.9,290,3300,3700,58,140,"<2",null,null,null,null,null,25125491]
["Höje å: Nedströms Källby ARV",21,"2025-04-11",10,7.7,null,null,null,3.4,61.8,9.2799999999999994,82.2,4300,1900,6700,740,840,2,null,null,null,null,null,25162971]
["Höje å: Nedströms Källby ARV",21,"2025-05-16",14.4,7.6,null,null,null,3.7,73.400000000000006,6.43,62.8,6500,1000,8800,940,990,2.2999999999999998,null,null,null,null,null,25220503]
["Höje å: Nedströms Källby ARV",21,"2025-06-19",18.2,7.6,null,null,null,3.3,65.8,4.8,50.3,640,1600,3100,330,450,"<2",null,null,null,null,null,25286759]
["Höje å: Nedströms Källby ARV",21,"2025-07-11",18.8,7.5,null,null,null,4.5,48.5,6.22,66.400000000000006,420,1400,2200,260,320,"<2",null,null,null,null,null,25323546]
["Höje å: Nedströms Källby ARV",21,"2025-08-15",19.899999999999999,7.4,null,null,null,2.2999999999999998,71.7,3.69,40.299999999999997,590,2400,3300,180,320,"<2",null,null,null,null,null,25360827]
["Höje å: Nedströms Källby ARV",21,"2025-09-15",15.6,7.4,null,null,null,1.9,51,5.77,59,580,2700,3300,210,240,"<2",null,null,null,null,null,25417201]
["Höje å: Nedströms Källby ARV",21,"2025-10-10",12.7,7.6,null,null,null,2.7,62,6.19,58,1700,3700,5300,130,210,"<2",null,null,null,null,null,25468700]
["Höje å: Nedströms Källby ARV",21,"2025-11-14",9.3000000000000007,7.6,null,null,null,3,65.400000000000006,7.95,69.3,280,2900,3600,76,130,"<2",null,null,null,null,null,25532702]
["Höje å: Nedströms Källby ARV",21,"2025-12-12",7.8,7.7,null,null,null,10,68.2,9.5399999999999991,79.5,400,6400,7100,58,130,"<2",null,null,null,null,null,25567982]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-01-10",3.5,7.8,null,null,null,10,58.7,12.3,93,290,6500,6600,57,99,null,null,null,null,null,null,25008161]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-02-13",1.6,7.9,null,null,null,6.2,64.8,13.1,93,160,4900,5100,51,96,null,null,null,null,null,null,25065548]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-03-20",6,7.8,null,null,null,4,65.8,10.82,84.9,250,3300,3600,60,140,null,null,null,null,null,null,25125492]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-04-11",10,7.7,null,null,null,3.2,62.6,9.43,83.3,4200,2100,6800,730,820,null,null,null,null,null,null,25162970]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-05-16",14.5,7.6,null,null,null,4.5999999999999996,71.400000000000006,6.5,63.3,6100,1300,8200,800,940,null,null,null,null,null,null,25220501]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-06-19",18.2,7.5,null,null,null,2.7,66,4.0599999999999996,36.1,330,1800,3100,320,430,null,null,null,null,null,null,25287618]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-07-11",18.5,7.5,null,null,null,3.7,48.7,6.3,66.900000000000006,250,1500,2100,250,310,null,null,null,null,null,null,25323545]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-08-15",20,7.4,null,null,null,2,71.2,2.97,32.5,270,2500,3400,200,280,null,null,null,null,null,null,25360828]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-09-15",15.9,7.3,null,null,null,1.5,50.4,6,61,240,2800,3500,200,220,null,null,null,null,null,null,25417203]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-10-10",12.7,7.5,null,null,null,1.6,61.6,5.19,47.7,1300,4000,5000,130,180,null,null,null,null,null,null,25468699]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-11-14",9.3000000000000007,7.6,null,null,null,3.3,65.5,7.81,68.099999999999994,210,3000,3500,78,130,null,null,null,null,null,null,25529872]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-12-12",7.8,7.7,null,null,null,8.3000000000000007,68.3,9.4600000000000009,78.5,340,6700,7400,53,120,null,null,null,null,null,null,25567974]
["Önnerupsbäcken: Önnerups by","23a","2025-01-10",3.4,7.9,null,null,null,11,77.099999999999994,12.9,97,42,12000,12000,50,79,null,null,null,null,null,null,25008162]
["Önnerupsbäcken: Önnerups by","23a","2025-02-13",1.5,8.1,null,null,null,3.3,86.5,13.6,97,19,9000,8500,27,42,null,null,null,null,null,null,25065550]
["Önnerupsbäcken: Önnerups by","23a","2025-03-20",3.7,8.1,null,null,null,2.5,84.4,13.5,100.3,13,4600,4900,9.4,28,null,null,null,null,null,null,25125493]
["Önnerupsbäcken: Önnerups by","23a","2025-04-11",8.9,8.1,null,null,null,3.4,68,11.62,99,13,2300,2700,5.2,45,null,null,null,null,null,null,25162968]
["Önnerupsbäcken: Önnerups by","23a","2025-05-16",11.9,7.9,null,null,null,3.7,72.5,2.48,21.5,83,1400,2100,51,91,null,null,null,null,null,null,25220500]
["Önnerupsbäcken: Önnerups by","23a","2025-06-19",15.3,7.9,null,null,null,2.9,71.5,6.54,64.8,76,840,1500,100,150,null,null,null,null,null,null,25286757]
["Önnerupsbäcken: Önnerups by","23a","2025-07-11",17,7.8,null,null,null,3,57.6,7.71,79.7,51,550,980,150,170,null,null,null,null,null,null,25323544]
["Önnerupsbäcken: Önnerups by","23a","2025-08-15",18,7.8,null,null,null,1.8,72.8,6.37,66.900000000000006,33,670,1100,160,200,null,null,null,null,null,null,25360830]
["Önnerupsbäcken: Önnerups by","23a","2025-09-15",15.2,7.9,null,null,null,1.9,54.7,8.6,86,17,650,960,100,120,null,null,null,null,null,null,25417204]
["Önnerupsbäcken: Önnerups by","23a","2025-10-10",11.6,8,null,null,null,2.1,62.3,8.2100000000000009,84.7,20,890,1200,79,110,null,null,null,null,null,null,25468701]
["Önnerupsbäcken: Önnerups by","23a","2025-11-14",8.5,7.9,null,null,null,2,86.9,8.31,71,49,590,1700,91,120,null,null,null,null,null,null,25529870]
["Önnerupsbäcken: Önnerups by","23a","2025-12-12",7.6,7.9,null,null,null,7.8,77.5,10.15,83.8,14,7100,7700,12,89,null,null,null,null,null,null,25567973]
["Höjeå: Lomma Kyrka","24a","2025-01-10",3.7,7.9,null,null,null,11,62.9,12.4,94,200,8300,8200,59,100,null,null,null,null,null,null,25008163]
["Höjeå: Lomma Kyrka","24a","2025-02-13",1.5,7.9,null,null,null,7.1,64.099999999999994,13.3,93,110,5000,5100,50,99,null,null,null,null,null,null,25065553]
["Höjeå: Lomma Kyrka","24a","2025-03-20",4.5999999999999996,7.9,null,null,null,5,62.3,12.11,92.8,100,3400,4000,47,110,null,null,null,null,null,null,25125494]
["Höjeå: Lomma Kyrka","24a","2025-04-11",9.4,7.8,null,null,null,4.5999999999999996,60.9,7.71,67.099999999999994,2200,2600,4900,500,580,null,null,null,null,null,null,25162963]
["Höjeå: Lomma Kyrka","24a","2025-05-16",13.8,7.7,null,null,null,5.8,67.099999999999994,6.41,61.4,1600,2300,4500,160,470,null,null,null,null,null,null,25220485]
["Höjeå: Lomma Kyrka","24a","2025-06-19",18.8,7.7,null,null,null,3.6,64.400000000000006,7.06,75.2,56,1500,2600,190,250,null,null,null,179,100,6500,25286755]
["Höjeå: Lomma Kyrka","24a","2025-07-11",19.5,7.6,null,null,null,2.2000000000000002,52.4,6.8,66.900000000000006,57,1100,1700,220,260,null,null,null,34,9,3900,25323542]
["Höjeå: Lomma Kyrka","24a","2025-08-15",20.7,8.1,null,null,null,3.7,65.599999999999994,10.23,113.9,19,1300,2400,120,240,null,null,null,14,9,">30000",25360831]
["Höjeå: Lomma Kyrka","24a","2025-09-15",16.3,7.5,null,null,null,2.2000000000000002,49,7.35,76,48,2200,2500,170,200,null,null,null,null,null,null,25417205]
["Höjeå: Lomma Kyrka","24a","2025-10-10",12.5,7.6,null,null,null,3.6,57,5.73,53.3,450,3600,4200,130,160,null,null,null,null,null,null,25468702]
["Höjeå: Lomma Kyrka","24a","2025-11-14",8.9,7.7,null,null,null,5.4,67.099999999999994,7.98,68.8,70,2700,3600,75,120,null,null,null,null,null,null,25529867]
["Höjeå: Lomma Kyrka","24a","2025-12-12",7.7,7.8,null,null,null,15,69.400000000000006,9.66,80.099999999999994,160,6600,7200,56,150,null,null,null,null,null,null,25567972]

{"sheet":"Kommentarer","index":2,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["Höje å - RECIPIENTKONTROLL  2025"]

{"sheet":"Höje å, månadsvis","index":3,"n_rows":185,"n_cols":24,"rows_kept":185,"cut":false,"hidden":false,"merged":[[129,5,129,6]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[null,null,null,null,null,"Sikt-","Sikt-","Klo","Tur","Kon","Syr","Syre",null,"Nitrat",null,null,null,null,null,null,null,"Int."]
[null,null,null,null,null,"djup","djup","ro","bidi","duk","gas ","mätt","NH4","Nitrit","Total","Fosfat","Total",null,"Absor-",null,null,"entero","Total","Prov-"]
["PROVPUNKT","ID","Datum","Temp.","pH","u. vk.","m. vk","fyll","tet","tivitet","halt","nad","kväve","kväve","kväve","fosfor","fosfor","BOD7","bans","Mg","E coli","kock.","bakt","nummer"]
[null,null,null,"°C",null,"m","m","µg/l","FNU","mS/m","mg/l","%","µg/l","µg/l","µg/l","µg/l","µg/l","mg/l","/5cm","mg/l","MPN/100ml","cfu/100ml","cfu/100ml"]
["JANUARI "]
[]
["Björkesåkraån: Nymölla",2,"2025-01-10",2,7.4,null,null,null,10,38.9,12.6,90,76,3900,4500,28,59,null,null,null,null,null,null,25008152]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-01-10",2.4,7.9,null,null,null,8.6,41,13,96,120,4400,4900,31,64,null,null,null,null,null,null,25008153]
["Höje å: Bjällerup",10,"2025-01-10",2.7,7.9,null,null,null,11,45,12.9,95,75,5100,5400,41,80,null,null,null,null,null,null,25008154]
["Dalbyån: Bjällerup",11,"2025-01-10",3.8,7.9,null,null,null,13,64.900000000000006,12.2,93,270,10000,9600,110,150,null,null,null,null,null,null,25008155]
["Råbydiket: Södra grenen","15:1","2025-01-10",4.4000000000000004,7.8,null,null,null,5,64.099999999999994,12.1,94,22,13000,12000,44,56,null,null,null,null,null,null,25008156]
["Dynnbäck: Vesumsvägen",17,"2025-01-10",3.5,7.6,null,null,null,4.7,76.900000000000006,7.9,60,1300,5100,5600,61,100,"<3",null,null,null,null,null,25008157]
["Höje å: Knästorp","18b","2025-01-10",3.1,7.8,null,null,null,11,54.1,12.9,97,180,6700,7200,52,90,"<3",null,null,null,null,null,25008158]
["Höje å: Uppströms Källby ARV",20,"2025-01-10",3.2,7.8,null,null,null,13,55,12.4,93,170,6700,6700,54,92,"<3",0.11,null,null,null,null,25008159]
["Höje å: Nedströms Källby ARV",21,"2025-01-10",3.2,7.8,null,null,null,12,59,12.1,90,320,6600,6700,56,97,"<3",null,null,null,null,null,25008160]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-01-10",3.5,7.8,null,null,null,10,58.7,12.3,93,290,6500,6600,57,99,null,null,null,null,null,null,25008161]
["Önnerupsbäcken: Önnerups by","23a","2025-01-10",3.4,7.9,null,null,null,11,77.099999999999994,12.9,97,42,12000,12000,50,79,null,null,null,null,null,null,25008162]
["Höjeå: Lomma Kyrka","24a","2025-01-10",3.7,7.9,null,null,null,11,62.9,12.4,94,200,8300,8200,59,100,null,null,null,null,null,null,25008163]
["FEBRUARI"]
[]
["Björkesåkrasjön",1,"2025-02-20",3,8.1999999999999993,0.3,"-",29,5,45.5,15.74,115.4,17,2900,4100,2.2000000000000002,41,null,0.24,5.2,null,null,null,25077654]
["Björkesåkraån: Nymölla",2,"2025-02-13",0.7,7.5,null,null,null,7.9,43.7,11.7,81,39,2300,3000,7.1,44,null,null,null,null,null,null,25065522]
["Häckebergasjön",3,"2025-02-20",2.5,7.9,"-","-",6.7,2.6,42.8,13.38,96.6,77,3300,4400,18,42,null,0.2,4.7,null,null,null,25077655]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-02-13",1.5,7.9,null,null,null,3,42.6,13.5,95,54,3100,3400,20,45,null,0.17,4.8,null,null,null,25065523]
["Höje å: Bjällerup",10,"2025-02-13",1.4,8,null,null,null,8.5,47.7,13.9,98,27,3700,3900,30,60,null,null,null,null,null,null,25065525]
["Dalbyån: Bjällerup",11,"2025-02-13",1.7,8.1,null,null,null,9.6,69.599999999999994,15.1,107,1100,7000,7200,160,200,null,null,null,null,null,null,25065527]
["Råbydiket: Södra grenen","15:1","2025-02-13",2.4,8,null,null,null,2.7,67.099999999999994,14.2,103,23,9900,9300,35,47,null,null,null,null,null,null,25065528]
["Dynnbäck: Vesumsvägen",17,"2025-02-13",2.8,7.7,null,null,null,7.8,86.5,8.6999999999999993,63,310,4100,4600,33,130,"<3",null,null,null,null,null,25065537]
["Höje å: Knästorp","18b","2025-02-13",1.4,7.9,null,null,null,9.8000000000000007,60,13.3,94,130,4700,4800,44,89,"<3",null,null,null,null,null,25065540]
["Höje å: Uppströms Källby ARV",20,"2025-02-13",1.4,8,null,null,null,13,59.5,13.1,92,120,4700,4800,47,93,"<3",0.1,8.1999999999999993,null,null,null,25065543]
["Höje å: Nedströms Källby ARV",21,"2025-02-13",1.6,7.9,null,null,null,8.5,65.099999999999994,13,92,180,5000,5000,49,100,"<3",null,null,null,null,null,25065546]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-02-13",1.6,7.9,null,null,null,6.2,64.8,13.1,93,160,4900,5100,51,96,null,null,null,null,null,null,25065548]
["Önnerupsbäcken: Önnerups by","23a","2025-02-13",1.5,8.1,null,null,null,3.3,86.5,13.6,97,19,9000,8500,27,42,null,null,null,null,null,null,25065550]
["Höjeå: Lomma Kyrka","24a","2025-02-13",1.5,7.9,null,null,null,7.1,64.099999999999994,13.3,93,110,5000,5100,50,99,null,null,null,null,null,null,25065553]
["MARS"]
[]
["Björkesåkraån: Nymölla",2,"2025-03-20",6.1,7.7,null,null,null,18,42.8,11.22,89,63,610,1800,8.9,69,null,null,null,null,null,null,25125483]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-03-20",5.5,7.9,null,null,null,4,42.5,12,94,37,1400,2200,6.9,40,null,0.13,5.4,null,null,null,25125484]
["Höje å: Bjällerup",10,"2025-03-20",7.8,8.6,null,null,null,4.0999999999999996,60.9,">20",173.4,1100,4700,5500,270,330,null,null,null,null,null,null,25125485]
["Dalbyån: Bjällerup",11,"2025-03-20",6.1,8.3000000000000007,null,null,null,8.1999999999999993,46,15.5,123.5,"<10",1800,2100,14,52,null,null,null,null,null,null,25125486]
["Råbydiket: Södra grenen","15:1","2025-03-20",6.1,8.5,null,null,null,7.1,55.7,19.829999999999998,154.5,"<10",6100,6100,6.2,46,null,null,null,null,null,null,25125487]
["Dynnbäck: Vesumsvägen",17,"2025-03-20",6.3,7.6,null,null,null,7.6,86,8.76,70.2,180,5000,5500,31,180,"<2",null,null,null,null,null,25125488]
["Höje å: Knästorp","18b","2025-03-20",5,8,null,null,null,5.9,58.1,13.03,100.9,120,2600,3000,33,86,"<2",null,null,null,null,null,25125489]
["Höje å: Uppströms Källby ARV",20,"2025-03-20",4.8,8,null,null,null,7.6,55.6,12.23,94.1,71,2800,2900,36,84,"<2",7.6999999999999999E-2,9.8000000000000007,null,null,null,25125490]
["Höje å: Nedströms Källby ARV",21,"2025-03-20",5.5,7.8,null,null,null,4,65.8,11.95,93.9,290,3300,3700,58,140,"<2",null,null,null,null,null,25125491]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-03-20",6,7.8,null,null,null,4,65.8,10.82,84.9,250,3300,3600,60,140,null,null,null,null,null,null,25125492]
["Önnerupsbäcken: Önnerups by","23a","2025-03-20",3.7,8.1,null,null,null,2.5,84.4,13.5,100.3,13,4600,4900,9.4,28,null,null,null,null,null,null,25125493]
["Höjeå: Lomma Kyrka","24a","2025-03-20",4.5999999999999996,7.9,null,null,null,5,62.3,12.11,92.8,100,3400,4000,47,110,null,null,null,null,null,null,25125494]
["APRIL"]
[]
["Björkesåkraån: Nymölla",2,"2025-04-11",11.3,7.9,null,null,null,5.8,43.4,10.72,98.3,18,180,1500,17,81,null,null,null,null,null,null,25162982]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-04-11",9.5,7.9,null,null,null,4.4000000000000004,42.6,10.41,91.4,40,800,1500,"<2",52,null,0.1,5.3,null,null,null,25162980]
["Höje å: Bjällerup",10,"2025-04-11",10.1,8.4,null,null,null,7.3,45.5,15.9,135,"<10",960,1400,8.5,47,null,null,null,null,null,null,25162978]
["Dalbyån: Bjällerup",11,"2025-04-11",11.6,8.8000000000000007,null,null,null,3.6,56.8,">20",">200","<10",1700,2200,30,120,null,null,null,null,null,null,25162977]
["Råbydiket: Södra grenen","15:1","2025-04-11",9.4,8.3000000000000007,null,null,null,1,52.6,16.45,143.19999999999999,18,4300,4600,"<2",24,null,null,null,null,null,null,25162976]
["Dynnbäck: Vesumsvägen",17,"2025-04-11",10.3,7.7,null,null,null,13,74.3,7.93,71.099999999999994,190,4800,5500,31,210,"<2",null,null,null,null,null,25162975]
["Höje å: Knästorp","18b","2025-04-11",8.6999999999999993,8,null,null,null,4,53.1,10.79,92.9,37,1600,2000,12,62,"<2",null,null,null,null,null,25162974]
["Höje å: Uppströms Källby ARV",20,"2025-04-11",9.4,8.1,null,null,null,3.8,53.6,10.69,93.4,33,1400,1900,26,65,"<2",7.6999999999999999E-2,9.4,null,null,null,25162972]
["Höje å: Nedströms Källby ARV",21,"2025-04-11",10,7.7,null,null,null,3.4,61.8,9.2799999999999994,82.2,4300,1900,6700,740,840,2,null,null,null,null,null,25162971]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-04-11",10,7.7,null,null,null,3.2,62.6,9.43,83.3,4200,2100,6800,730,820,null,null,null,null,null,null,25162970]
["Önnerupsbäcken: Önnerups by","23a","2025-04-11",8.9,8.1,null,null,null,3.4,68,11.62,99,13,2300,2700,5.2,45,null,null,null,null,null,null,25162968]
["Höjeå: Lomma Kyrka","24a","2025-04-11",9.4,7.8,null,null,null,4.5999999999999996,60.9,7.71,67.099999999999994,2200,2600,4900,500,580,null,null,null,null,null,null,25162963]
["MAJ"]
[]
["Björkesåkrasjön",1,"2025-05-23",12,9,1,1,3.4,2.2999999999999998,33.5,10.7,"-",23,"<10",1900,"<2",33,null,0.13,5.6,null,null,null,25238837]
["Björkesåkraån: Nymölla",2,"2025-05-16",15.1,7.6,null,null,null,3.3,44,9.08,89.1,24,"<10",1400,52,100,null,null,null,null,null,null,25220517]
["Häckebergasjön",3,"2025-05-23",14.8,8.1999999999999993,0.8,0.8,33,12,43,8.9,"-","<10","<10",1800,"<2",110,null,0.12,4.9000000000000004,null,null,null,25238838]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-05-16",12.3,7.8,null,null,null,10,49.1,9.27,86.1,50,350,1200,18,80,null,9.0999999999999998E-2,6.3,null,null,null,25220514]
["Höje å: Bjällerup",10,"2025-05-16",15.9,8.4,null,null,null,3,58.2,11.01,166.1,19,1100,1700,89,120,null,null,null,null,null,null,25220513]
["Dalbyån: Bjällerup",11,"2025-05-16",13.8,8.1,null,null,null,3.4,51.6,12.96,130.4,28,590,1100,47,87,null,null,null,null,null,null,25220511]
["Råbydiket: Södra grenen","15:1","2025-05-16",12.4,7.7,null,null,null,1.6,58.5,75,74.7,52,4500,4600,69,91,null,null,null,null,null,null,25220510]
["Dynnbäck: Vesumsvägen",17,"2025-05-16",14.5,7.7,null,null,null,7.2,75.5,1,1,110,3600,4400,36,120,2.9,null,null,null,null,null,25220509]
["Höje å: Knästorp","18b","2025-05-16",13.4,8,null,null,null,4.0999999999999996,59.6,10.56,100.7,46,1100,1800,56,100,"<2",null,null,null,null,null,25220508]
["Höje å: Uppströms Källby ARV",20,"2025-05-16",13.5,7.9,null,null,null,5.5,60.6,8.66,82.6,70,1000,1700,74,120,"<2",6.3E-2,10,null,null,null,25220506]
["Höje å: Nedströms Källby ARV",21,"2025-05-16",14.4,7.6,null,null,null,3.7,73.400000000000006,6.43,62.8,6500,1000,8800,940,990,2.2999999999999998,null,null,null,null,null,25220503]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-05-16",14.5,7.6,null,null,null,4.5999999999999996,71.400000000000006,6.5,63.3,6100,1300,8200,800,940,null,null,null,null,null,null,25220501]
["Önnerupsbäcken: Önnerups by","23a","2025-05-16",11.9,7.9,null,null,null,3.7,72.5,2.48,21.5,83,1400,2100,51,91,null,null,null,null,null,null,25220500]
["Höjeå: Lomma Kyrka","24a","2025-05-16",13.8,7.7,null,null,null,5.8,67.099999999999994,6.41,61.4,1600,2300,4500,160,470,null,null,null,null,null,null,25220485]
["JUNI"]
[]
["Björkesåkrasjön",1,"2025-06-13",18.399999999999999,9.8000000000000007,">1",">1",1.5,2.2999999999999998,20.8,13.4,"-","<10","<10",1400,"<2",33,null,0.13,4.4000000000000004,null,null,null,25274399]
["Björkesåkraån: Nymölla",2,"2025-06-19",16,7.5,null,null,null,2.9,45.3,3.7,36.799999999999997,110,"<10",1400,96,150,null,null,null,null,null,null,25286770]
["Häckebergasjön",3,"2025-06-13",18.7,8.9,0.4,0.5,73,21,39.9,15.17,"-","<10","<10",1800,"<2",98,null,0.1,5,null,null,null,25274400]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-06-19",13.7,7.8,null,null,null,15,50.4,8.1999999999999993,77.5,70,410,1800,"<2",120,null,7.3999999999999996E-2,6.4,null,null,null,25286766]
["Höje å: Bjällerup",10,"2025-06-19",17.100000000000001,7.9,null,null,null,6.7,53,9.24,94.7,20,350,1100,66,110,null,null,null,null,null,null,25286765]
["Dalbyån: Bjällerup",11,"2025-06-19",17.5,8.1,null,null,null,3.9,53.7,10.48,109.4,17,150,830,120,160,null,null,null,null,null,null,25286764]
["Råbydiket: Södra grenen","15:1","2025-06-19",13.5,7.6,null,null,null,1.8,58.6,4.76,44.6,94,1300,2000,80,100,null,null,null,null,null,null,25286763]
["Dynnbäck: Vesumsvägen",17,"2025-06-19",16.899999999999999,7.8,null,null,null,3,73.2,7.86,79.599999999999994,220,1700,2900,53,110,2.1,null,null,null,null,null,25286762]
["Höje å: Knästorp","18b","2025-06-19",17,7.9,null,null,null,4.7,60,7.52,77.099999999999994,53,710,1600,93,150,"<2",null,null,null,null,null,25286761]
["Höje å: Uppströms Källby ARV",20,"2025-06-19",17.5,7.8,null,null,null,3.4,61.7,6.55,68.099999999999994,71,620,1400,120,180,"<2",6.9000000000000006E-2,10,null,null,null,25286760]
["Höje å: Nedströms Källby ARV",21,"2025-06-19",18.2,7.6,null,null,null,3.3,65.8,4.8,50.3,640,1600,3100,330,450,"<2",null,null,null,null,null,25286759]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-06-19",18.2,7.5,null,null,null,2.7,66,4.0599999999999996,36.1,330,1800,3100,320,430,null,null,null,null,null,null,25287618]
["Önnerupsbäcken: Önnerups by","23a","2025-06-19",15.3,7.9,null,null,null,2.9,71.5,6.54,64.8,76,840,1500,100,150,null,null,null,null,null,null,25286757]
["Höjeå: Lomma Kyrka","24a","2025-06-19",18.8,7.7,null,null,null,3.6,64.400000000000006,7.06,75.2,56,1500,2600,190,250,null,null,null,179,100,6500,25286755]
["JULI"]
[]
["Björkesåkrasjön",1,"2025-07-17",19.600000000000001,9.4,">1",">1",7.2,2.2000000000000002,20.100000000000001,8.16,"-","<10","<10",1800,"<2",33,null,0.12,4.7,null,null,null,25332108]
["Björkesåkraån: Nymölla",2,"2025-07-11",16,7.5,null,null,null,4.2,39.700000000000003,1.92,19.5,23,17,630,75,130,null,null,null,null,null,null,25323554]
["Häckebergasjön",3,"2025-07-17",20.7,8.6999999999999993,0.4,0.5,78,22,35.799999999999997,10.37,"-","<10","<50",2000,"<2",96,null,9.1999999999999998E-2,5.0999999999999996,null,null,null,25332109]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-07-11",13.4,7.7,null,null,null,8.9,48,7.43,71.400000000000006,83,540,1300,8.4,92,null,6.8000000000000005E-2,6.5,null,null,null,25323553]
["Höje å: Bjällerup",10,"2025-07-11",16.5,7.8,null,null,null,2.7,50.3,7.01,71.3,10,440,860,79,100,null,null,null,null,null,null,25325207]
["Dalbyån: Bjällerup",11,"2025-07-11",17.899999999999999,7.7,null,null,null,4.0999999999999996,39.4,7.15,75,30,710,1100,220,260,null,null,null,null,null,null,25325208]
["Råbydiket: Södra grenen","15:1","2025-07-11",15.4,7.6,null,null,null,3,51.3,5.23,52.1,68,1400,1900,210,250,null,null,null,null,null,null,25323550]
["Dynnbäck: Vesumsvägen",17,"2025-07-11",18.2,7.3,null,null,null,2.4,50.5,1.92,19.5,180,1100,1800,80,130,2.1,null,null,null,null,null,25323549]
["Höje å: Knästorp","18b","2025-07-11",18.100000000000001,7.7,null,null,null,4.8,46.1,6.65,70,66,710,1200,130,170,"<2",null,null,null,null,null,25323548]
["Höje å: Uppströms Källby ARV",20,"2025-07-11",18.2,7.6,null,null,null,5.4,42,6.16,65.7,59,800,1200,160,200,"<2",8.3000000000000004E-2,6.8,null,null,null,25323547]
["Höje å: Nedströms Källby ARV",21,"2025-07-11",18.8,7.5,null,null,null,4.5,48.5,6.22,66.400000000000006,420,1400,2200,260,320,"<2",null,null,null,null,null,25323546]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-07-11",18.5,7.5,null,null,null,3.7,48.7,6.3,66.900000000000006,250,1500,2100,250,310,null,null,null,null,null,null,25323545]
["Önnerupsbäcken: Önnerups by","23a","2025-07-11",17,7.8,null,null,null,3,57.6,7.71,79.7,51,550,980,150,170,null,null,null,null,null,null,25323544]
["Höjeå: Lomma Kyrka","24a","2025-07-11",19.5,7.6,null,null,null,2.2000000000000002,52.4,6.8,66.900000000000006,57,1100,1700,220,260,null,null,null,34,9,3900,25323542]
["AUGUSTI"]
[]
["Björkesåkrasjön",1,"2025-08-26",16,10.1,">1",">1",4.5999999999999996,2.6,22.7,11.7,"-",14,"<50",2100,3.4,36,null," - "," - ",null,null,null,25383983]
["Björkesåkraån: Nymölla",2,"2025-08-15",16,7.5,null,null,null,4.0999999999999996,53.3,2.0499999999999998,19.2,120,19,1100,74,240,null,null,null,null,null,null,25360817]
["Häckebergasjön",3,"2025-08-26",21,8.6,0.4,0.5,41,17,36.4,12,"-","<10","<50",1700,5.0999999999999996,110,null,9.0999999999999998E-2,5.3,null,null,null,25383987]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-08-15",16.3,7.7,null,null,null,11,53.7,7.3,70.8,72,430,1500,13,110,null,8.7999999999999995E-2,7,null,null,null,25360818]
["Höje å: Bjällerup",10,"2025-08-15",18.7,7.8,null,null,null,2.2000000000000002,58.4,5.34,55.5,14,110,650,61,92,null,null,null,null,null,null,25360819]
["Dalbyån: Bjällerup",11,"2025-08-15",20.8,7.8,null,null,null,4.5,55,7.05,78,12,220,940,260,380,null,null,null,null,null,null,25360820]
["Råbydiket: Södra grenen","15:1","2025-08-15",15.2,7.6,null,null,null,2.2000000000000002,65.5,4.8899999999999997,48.5,100,1600,2100,130,170,null,null,null,null,null,null,25360822]
["Dynnbäck: Vesumsvägen",17,"2025-08-15",19.899999999999999,7.4,null,null,null,2.8,70.099999999999994,2.62,29.3,490,2700,3800,58,120,"<2",null,null,null,null,null,25360824]
["Höje å: Knästorp","18b","2025-08-15",19.3,7.7,null,null,null,2.7,63.7,5.36,57.8,51,920,1500,97,140,"<2",null,null,null,null,null,25360825]
["Höje å: Uppströms Källby ARV",20,"2025-08-15",19.2,7.7,null,null,null,2.5,65.400000000000006,4.68,50.4,44,840,1400,130,180,"<2",6.6000000000000003E-2,10,null,null,null,25360826]
["Höje å: Nedströms Källby ARV",21,"2025-08-15",19.899999999999999,7.4,null,null,null,2.2999999999999998,71.7,3.69,40.299999999999997,590,2400,3300,180,320,"<2",null,null,null,null,null,25360827]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-08-15",20,7.4,null,null,null,2,71.2,2.97,32.5,270,2500,3400,200,280,null,null,null,null,null,null,25360828]
["Önnerupsbäcken: Önnerups by","23a","2025-08-15",18,7.8,null,null,null,1.8,72.8,6.37,66.900000000000006,33,670,1100,160,200,null,null,null,null,null,null,25360830]
["Höjeå: Lomma Kyrka","24a","2025-08-15",20.7,8.1,null,null,null,3.7,65.599999999999994,10.23,113.9,19,1300,2400,120,240,null,null,null,14,9,">30000",25360831]
["SEPTEMBER"]
[]
["Björkesåkrasjön",1,"2025-09-18",14.5,8,"igenvuxet",null,13,8,29.6,6.9,"-",52,"<10",2300,"<2",63,null,0.15,5,null,null,null,25427507]
["Björkesåkraån: Nymölla",2,"2025-09-15",13,7.7,null,null,null,4.8,31.9,7.8,76,12,72,430,24,40,null,null,null,null,null,null,25417189]
["Häckebergasjön",3,"2025-09-18",16.100000000000001,8.3000000000000007,"-",0.7,70,15,36.700000000000003,9.3000000000000007,"-","<10","<50",1900,"<2",110,null,7.8E-2,5,null,null,null,25427508]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-09-15",12.1,7.6,null,null,null,7.3,52.9,8.3000000000000007,78,74,530,1200,16,77,null,5.2999999999999999E-2,7.5,null,null,null,25417191]
["Höje å: Bjällerup",10,"2025-09-15",14.2,7.8,null,null,null,2.2999999999999998,48.1,7.9,78.400000000000006,10,470,800,46,62,null,null,null,null,null,null,25417193]
["Dalbyån: Bjällerup",11,"2025-09-15",14.9,7.7,null,null,null,1.2,39.799999999999997,8.26,83,"<10","<10",360,220,230,null,null,null,null,null,null,25417195]
["Råbydiket: Södra grenen","15:1","2025-09-15",13.3,7.7,null,null,null,1.8,70.2,6.9,67,48,3800,4300,140,150,null,null,null,null,null,null,25417196]
["Dynnbäck: Vesumsvägen",17,"2025-09-15",14.5,7.3,null,null,null,2.8,55,4.5,45,1500,1300,3000,50,90,"<2",null,null,null,null,null,25417197]
["Höje å: Knästorp","18b","2025-09-15",14.6,7.6,null,null,null,2.2000000000000002,48.5,5.77,57,100,560,1100,92,110,"<2",null,null,null,null,null,25417198]
["Höje å: Uppströms Källby ARV",20,"2025-09-15",14.9,7.5,null,null,null,1.6,46.9,6.25,62,54,580,980,130,150,"<2",5.6000000000000001E-2,7.9,null,null,null,25417199]
["Höje å: Nedströms Källby ARV",21,"2025-09-15",15.6,7.4,null,null,null,1.9,51,5.77,59,580,2700,3300,210,240,"<2",null,null,null,null,null,25417201]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-09-15",15.9,7.3,null,null,null,1.5,50.4,6,61,240,2800,3500,200,220,null,null,null,null,null,null,25417203]
["Önnerupsbäcken: Önnerups by","23a","2025-09-15",15.2,7.9,null,null,null,1.9,54.7,8.6,86,17,650,960,100,120,null,null,null,null,null,null,25417204]
["Höjeå: Lomma Kyrka","24a","2025-09-15",16.3,7.5,null,null,null,2.2000000000000002,49,7.35,76,48,2200,2500,170,200,null,null,null,null,null,null,25417205]
["OKTOBER"]
[]
["Björkesåkraån: Nymölla",2,"2025-10-10",11.9,7.8,null,null,null,4.3,42.7,8.6300000000000008,79.3,23,910,1600,17,41,null,null,null,null,null,null,25468669]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-10-10",11,7.8,null,null,null,6.8,51.7,8.4700000000000006,75.400000000000006,44,380,1400,4.4000000000000004,83,null,6.8000000000000005E-2,6.6,null,null,null,25468670]
["Höje å: Bjällerup",10,"2025-10-10",12.1,8.1,null,null,null,3.4,56.2,10.28,94.3,"<10",1400,2000,53,81,null,null,null,null,null,null,25468693]
["Dalbyån: Bjällerup",11,"2025-10-10",12.8,8.3000000000000007,null,null,null,4,57.1,12.76,119.2,"<10",1200,1700,77,100,null,null,null,null,null,null,25468694]
["Råbydiket: Södra grenen","15:1","2025-10-10",11.9,7.9,null,null,null,1.8,81.099999999999994,7.37,67.7,24,8800,8800,59,85,null,null,null,null,null,null,25468695]
["Dynnbäck: Vesumsvägen",17,"2025-10-10",12.5,7.6,null,null,null,4,61.1,5.97,55.4,110,1300,2100,68,130,"<2",null,null,null,null,null,25468696]
["Höje å: Knästorp","18b","2025-10-10",12,7.9,null,null,null,2.6,61.8,7.5,69.2,36,2200,2800,65,110,"<2",null,null,null,null,null,25468697]
["Höje å: Uppströms Källby ARV",20,"2025-10-10",12.1,7.8,null,null,null,1.8,61.9,6.74,62.1,56,2100,2800,84,130,"<2",5.6000000000000001E-2,9.5,null,null,null,25468698]
["Höje å: Nedströms Källby ARV",21,"2025-10-10",12.7,7.6,null,null,null,2.7,62,6.19,58,1700,3700,5300,130,210,"<2",null,null,null,null,null,25468700]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-10-10",12.7,7.5,null,null,null,1.6,61.6,5.19,47.7,1300,4000,5000,130,180,null,null,null,null,null,null,25468699]
["Önnerupsbäcken: Önnerups by","23a","2025-10-10",11.6,8,null,null,null,2.1,62.3,8.2100000000000009,84.7,20,890,1200,79,110,null,null,null,null,null,null,25468701]
["Höjeå: Lomma Kyrka","24a","2025-10-10",12.5,7.6,null,null,null,3.6,57,5.73,53.3,450,3600,4200,130,160,null,null,null,null,null,null,25468702]
["NOVEMBER"]
[]
["Björkesåkraån: Nymölla",2,"2025-11-14",7.7,7.6,null,null,null,3.3,59.5,8.92,76,76,980,3200,13,33,null,null,null,null,null,null,25529885]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-11-14",8.1,7.7,null,null,null,2.9,47,9.4600000000000009,79.099999999999994,91,610,1500,4.9000000000000004,40,null,8.1000000000000003E-2,5.8,null,null,null,25529884]
["Höje å: Bjällerup",10,"2025-11-14",8.6,7.9,null,null,null,3.7,52.4,10.49,89.9,12,1500,2000,38,66,null,null,null,null,null,null,25529882]
["Dalbyån: Bjällerup",11,"2025-11-14",8.1,8.3000000000000007,null,null,null,4.9000000000000004,70.5,13.82,117.1,"<10",2800,3100,64,87,null,null,null,null,null,null,25529881]
["Råbydiket: Södra grenen","15:1","2025-11-14",8.8000000000000007,7.8,null,null,null,2.2999999999999998,80,8.5299999999999994,73.599999999999994,26,8300,8500,60,75,null,null,null,null,null,null,25529880]
["Dynnbäck: Vesumsvägen",17,"2025-11-14",9.1,7.5,null,null,null,11,72.599999999999994,3.8,33.299999999999997,1200,1300,3200,110,230,"<2",null,null,null,null,null,25529879]
["Höje å: Knästorp","18b","2025-11-14",8.4,7.9,null,null,null,4.2,60.2,9.6300000000000008,82.1,100,2000,2600,60,92,"<2",null,null,null,null,null,25529878]
["Höje å: Uppströms Källby ARV",20,"2025-11-14",8.9,7.8,null,null,null,4.9000000000000004,62,8.43,72.7,52,2000,2400,69,110,"<2",6.3E-2,9.4,null,null,null,25529877]
["Höje å: Nedströms Källby ARV",21,"2025-11-14",9.3000000000000007,7.6,null,null,null,3,65.400000000000006,7.95,69.3,280,2900,3600,76,130,"<2",null,null,null,null,null,25532702]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-11-14",9.3000000000000007,7.6,null,null,null,3.3,65.5,7.81,68.099999999999994,210,3000,3500,78,130,null,null,null,null,null,null,25529872]
["Önnerupsbäcken: Önnerups by","23a","2025-11-14",8.5,7.9,null,null,null,2,86.9,8.31,71,49,590,1700,91,120,null,null,null,null,null,null,25529870]
["Höjeå: Lomma Kyrka","24a","2025-11-14",8.9,7.7,null,null,null,5.4,67.099999999999994,7.98,68.8,70,2700,3600,75,120,null,null,null,null,null,null,25529867]
["DECEMBER"]
[]
["Björkesåkraån: Nymölla",2,"2025-12-12",7.1,7.4,null,null,null,4.8,47.9,9.4600000000000009,78,52,2900,4100,5,46,null,null,null,null,null,null,25567995]
["Höje å: Uppströms dagvattenutsläpp Genarp","5b","2025-12-12",6.7,7.8,null,null,null,2.6,47.3,10.55,85.7,210,1800,2600,7.6,48,null,0.11,5.5,null,null,null,25567994]
["Höje å: Bjällerup",10,"2025-12-12",7.2,7.9,null,null,null,6.7,54.7,9.5500000000000007,77.7,44,4500,5000,24,77,null,null,null,null,null,null,25567993]
["Dalbyån: Bjällerup",11,"2025-12-12",7.6,7.8,null,null,null,11,76.400000000000006,11.23,92.9,36,9900,11000,20,94,null,null,null,null,null,null,25567992]
["Råbydiket: Södra grenen","15:1","2025-12-12",7.6,7.7,null,null,null,5.8,76.8,10.47,86.4,71,14000,14000,2.2000000000000002,70,null,null,null,null,null,null,25567990]
["Dynnbäck: Vesumsvägen",17,"2025-12-12",8.6999999999999993,7.4,null,null,null,2.4,73,5.4,45.9,100,2000,2600,45,96,"<2",null,null,null,null,null,25567989]
["Höje å: Knästorp","18b","2025-12-12",7.5,7.8,null,null,null,14,66.8,10.42,85.9,72,7300,7500,31,96,"<2",null,null,null,null,null,25567988]
["Höje å: Uppströms Källby ARV",20,"2025-12-12",7.5,7.8,null,null,null,9.1,67.400000000000006,10.02,83,51,7300,7600,38,100,"<2",6.9000000000000006E-2,9.8000000000000007,null,null,null,25567987]
["Höje å: Nedströms Källby ARV",21,"2025-12-12",7.8,7.7,null,null,null,10,68.2,9.5399999999999991,79.5,400,6400,7100,58,130,"<2",null,null,null,null,null,25567982]
["Höje å: Nedströms dagv. utl Källby ARV","21A","2025-12-12",7.8,7.7,null,null,null,8.3000000000000007,68.3,9.4600000000000009,78.5,340,6700,7400,53,120,null,null,null,null,null,null,25567974]
["Önnerupsbäcken: Önnerups by","23a","2025-12-12",7.6,7.9,null,null,null,7.8,77.5,10.15,83.8,14,7100,7700,12,89,null,null,null,null,null,null,25567973]
["Höjeå: Lomma Kyrka","24a","2025-12-12",7.7,7.8,null,null,null,15,69.400000000000006,9.66,80.099999999999994,160,6600,7200,56,150,null,null,null,null,null,null,25567972]

{"sheet":"Bedömningsgrunder","index":4,"n_rows":41,"n_cols":11,"rows_kept":41,"cut":false,"hidden":false,"merged":[[18,12,18,13],[22,12,22,13],[8,2,8,6],[37,3,38,3],[37,4,38,4],[37,5,38,5]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[]
[]
["Bedömningsgrunder"]
[]
[null,"Rastrering motsvarar bedömning enligt Naturvårdsverkets bedömningsgrunder (Rapport 4913, 1999)."]
[null,"Bedömningen av klorofyll a, kväve- och fosforhalter har gjorts utifrån sjöar maj-oktober."]
[]
[null,null,"Klass"]
[null,"Parameter",1,2,3,4,5]
[null,"pH, surhet","Nära neutralt","Svagt surt","Måttligt","Surt","Mycket surt"]
[null,"pH-värde",">6,8","6,5-6,8","6,2-6,5","5,6-6,19","<5,6"]
[null,"TOC, totalt organiskt kol","Mycket låg ","Låg","Måttligt hög","Hög","Mycket hög"]
[null,"mg/l","≤4","4-8","8-12","12-16",">16"]
[null,"Absorbans, färg","Obetydligt","Svagt","Måttligt","Betydligt","Starkt"]
[null,"mg Pt/l","≤0,02","0,02-0,05","0,05-0,12","0,12-0,20",">0,20"]
[null,"Grumlighet","Obetydligt","Svagt","Måttligt","Betydligt","Starkt"]
[null,"FNU","≤0,5","0,5-1,0","1,0-2,5","2,5-7",">7"]
[null,"Syrehalt","Syrerikt","Måttligt","Svagt","Syrefattigt","Syrefritt"]
[null,"mg O2/l","≥7","5-7","3-5","1-2,9","<1"]
[null,"Totalfosfor","Låg","Måttligt","Hög","Mycket hög","Extremt hög"]
[null,"µg/l","≤12,5","12,5-25","25-50","51-100",">100"]
[null,"Totalkväve","Låg","Måttligt","Hög","Mycket hög","Extremt hög"]
[null,"µg/l","≤300","300-625","625-1250","1251-5000",">5000"]
[null,"Klorofyll a","Mycket låga","Låga","Måttligt höga","Höga","Mycket höga"]
[null,"µg/l","≤2","2-5","5-12","12-25",">25"]
[null,"Siktdjup","Mycket stort","Stort","Måttligt","Litet","Mycket litet"]
[null,"m","≥8","5-8","2,5-5","1-2,5","<1"]
[]
[null,null,"Rastreringen motsvarar bedömningen enligt Naturvårdsverkets bedömningsgrunder (Rapport 4913)"]
[null,"Bedömning","Rastrering","Enhet","As","Pb","Cd","Cu","Cr","Ni","Zn"]
[null,"måttligt höga halter","x,x","µg/l","5-15","1-3","0,1-0,3","3-9","5-15","15-45","20-60"]
[null,"höga halter","x,x","µg/l","15-75","3-15","0,3-1,5","9-45","15-75","45-225","60-300"]
[null,"mycket höga halter","x,x","µg/l",">75",">15",">1,5",">45",">75",">225",">300"]
[]
[]
[null,"Rastreringen motsvarar bedömningen enligt Havs- och Vattenmyndighetens \"Vägledning kring EU-bad\""]
[null,null,null,"Tjänligt (cfu/100 ml)","Tjänligt med anmärkning (cfu/100 ml)","Otjänligt (cfu/100ml)"]
[null,"Parameter"]
[null,"E. coli",null,"≤100",">100-1000",">1000"]
[null,"Intestinala enterokocker",null,"≤100",">100-300",">300"]

{"sheet":"Metaller Höje å","index":5,"n_rows":77,"n_cols":13,"rows_kept":77,"cut":false,"hidden":false,"merged":[]}
["Höje å - RECIPIENTKONTROLL  2025"]
[null,null,null,null,null,null,""]
[null,null,null,"As","Cd","Pb","Cr","Cu","Ni","Zn","Ca","DOC","Prov-"]
["PROVPUNKT","ID","Datum","filt.","filt.","filt.","filt.","filt.","filt.","filt.",null,null,"nummer"]
[null,"-","-","µg/l","µg/l","µg/l","µg/l","µg/l","µg/l","µg/l","mg/l","mg/l"]
["Dynnbäck: Vesumsvägen",17,"2025-01-10",0.67,"<0,01",3.4000000000000002E-2,0.11,1.4,0.75,4.3,93,7.4,25008157]
["Dynnbäck: Vesumsvägen",17,"2025-02-13",0.59,"<0,01",3.4000000000000002E-2,6.6000000000000003E-2,0.83,0.95,2.6,98,8.1,25065537]
["Dynnbäck: Vesumsvägen",17,"2025-03-20",0.57999999999999996,"<0,01",5.5E-2,9.0999999999999998E-2,1.5,1.1000000000000001,3.9,84,8.1999999999999993,25125488]
["Dynnbäck: Vesumsvägen",17,"2025-04-11",0.76,"<0,01",0.12,0.11,2,1.1000000000000001,4.5,76,8.9,25162975]
["Dynnbäck: Vesumsvägen",17,"2025-05-16",0.81,"<0,01",0.1,0.11,2,1.2,4.8,66,11,25220509]
["Dynnbäck: Vesumsvägen",17,"2025-06-19"," - "," - "," - "," - "," - "," - "," - "," - "," - ",25286762]
["Dynnbäck: Vesumsvägen",17,"2025-07-11",0.96,"<0,01",9.8000000000000004E-2,0.12,1.4,0.83,3.8,51,9.6999999999999993,25323549]
["Dynnbäck: Vesumsvägen",17,"2025-08-15",0.78,"<0,01",0.1,0.13,1.4,0.98,3.7,57,8.3000000000000007,25360824]
["Dynnbäck: Vesumsvägen",17,"2025-09-15",0.59,"<0,01",9.0999999999999998E-2,0.1,0.94,0.72,5.3,51,7.3,25417197]
["Dynnbäck: Vesumsvägen",17,"2025-10-10",0.57999999999999996,"<0,01",9.9000000000000005E-2,0.08,1,0.74,4.8,53,7.7,25468696]
["Dynnbäck: Vesumsvägen",17,"2025-11-14",0.56999999999999995,"<0,01",9.7000000000000003E-2,9.5000000000000001E-2,1.3,0.96,7.5,62,8.1999999999999993,25529879]
["Dynnbäck: Vesumsvägen",17,"2025-12-12"," - "," - "," - "," - "," - "," - "," - "," - "," - ",25567989]
["Höje å: Uppströms Källby ARV",20,"2025-01-10",0.88,1.0999999999999999E-2,5.0999999999999997E-2,0.18,1.7,1.1000000000000001,1.6,83,11,25008159]
["Höje å: Uppströms Källby ARV",20,"2025-02-13",0.95,"<0,01",5.3999999999999999E-2,0.12,1.3,0.97,1.4,86,10,25065543]
["Höje å: Uppströms Källby ARV",20,"2025-03-20",0.95,"<0,01","<0,02",8.2000000000000003E-2,1.2,0.88,1.7,91,8.6999999999999993,25125490]
["Höje å: Uppströms Källby ARV",20,"2025-04-11",1.4,"<0,01",3.6999999999999998E-2,7.3999999999999996E-2,1.3,0.89,1.3,81,8.8000000000000007,25162972]
["Höje å: Uppströms Källby ARV",20,"2025-05-16",1.9,"<0,01",5.6000000000000001E-2,6.0999999999999999E-2,1.1000000000000001,0.96,1.5,82,9.1999999999999993,25220506]
["Höje å: Uppströms Källby ARV",20,"2025-06-19",2.2000000000000002,"<0,01","<0,02",0.06,1,0.86,1.4,82,8,25286760]
["Höje å: Uppströms Källby ARV",20,"2025-07-11",2,"<0,01",9.6000000000000002E-2,0.11,1.8,0.79,3.1,54,7.3,25323547]
["Höje å: Uppströms Källby ARV",20,"2025-08-15",1.8,"<0,01",2.9000000000000001E-2,6.5000000000000002E-2,1.1000000000000001,0.78,1.6,74,7,25360826]
["Höje å: Uppströms Källby ARV",20,"2025-09-15",1.6,"<0,01",3.4000000000000002E-2,6.0999999999999999E-2,1,0.56999999999999995,3,59,5.7,25417199]
["Höje å: Uppströms Källby ARV",20,"2025-10-10",1.3,"<0,01",3.5999999999999997E-2,7.0000000000000007E-2,1.1000000000000001,0.7,3.1,78,6.5,25468698]
["Höje å: Uppströms Källby ARV",20,"2025-11-14",1.4,"<0,01","<0,02",7.0999999999999994E-2,1.2,0.79,2.1,83,7.5,25529877]
["Höje å: Uppströms Källby ARV",20,"2025-12-12",0.9,"<0,01",2.9000000000000001E-2,0.1,1.2,0.89,2,100,7.7,25567987]
["Höje å: Nedströms Källby ARV",21,"2025-01-10",0.82,0.01,4.2999999999999997E-2,0.17,1.8,1.1000000000000001,2.4,84,11,25008160]
["Höje å: Nedströms Källby ARV",21,"2025-02-13",0.85,"<0,01",3.5999999999999997E-2,0.13,1.3,1.1000000000000001,2.1,84,9.1999999999999993,25065546]
["Höje å: Nedströms Källby ARV",21,"2025-03-20",0.94,"<0,01",0.02,7.9000000000000001E-2,1.5,1.1000000000000001,2.5,77,8.8000000000000007,25125491]
["Höje å: Nedströms Källby ARV",21,"2025-04-11",1.2,"<0,01",3.2000000000000001E-2,0.1,1.5,1.3,2.5,75,10,25162971]
["Höje å: Nedströms Källby ARV",21,"2025-05-16",1.6,"<0,01",0.03,9.7000000000000003E-2,1.1000000000000001,1.5,1.8,67,10,25220503]
["Höje å: Nedströms Källby ARV",21,"2025-06-19",1.7,"<0,01","<0,02",6.9000000000000006E-2,1.1000000000000001,1.2,1.8,66,8.1999999999999993,25286759]
["Höje å: Nedströms Källby ARV",21,"2025-07-11",1.6,"<0,01",6.9000000000000006E-2,0.11,1.9,1.1000000000000001,3.1,51,7.2,25323546]
["Höje å: Nedströms Källby ARV",21,"2025-08-15",1.2,"<0,01","<0,02",0.08,1.2,1.2,2,63,7,25360827]
["Höje å: Nedströms Källby ARV",21,"2025-09-15",1.1000000000000001,"<0,01",2.5999999999999999E-2,0.11,1.4,1.3,3.9,50,6.1,25417201]
["Höje å: Nedströms Källby ARV",21,"2025-10-10",0.88,"<0,01",2.5000000000000001E-2,7.9000000000000001E-2,1.4,1.1000000000000001,4.5,63,6.5,25468700]
["Höje å: Nedströms Källby ARV",21,"2025-11-14",1.1000000000000001,"<0,01","<0,02",7.8E-2,1.4,1.2,3.4,71,7.6,25532702]
["Höje å: Nedströms Källby ARV",21,"2025-12-12",0.89,"<0,01","<0,02",0.11,1.6,1,3.1,92,7.6,25567982]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-01-10",0.82,"<0,01",4.2000000000000003E-2,0.17,1.8,1.1000000000000001,2.4,83,11,25008161]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-02-13",0.83,"<0,01",3.4000000000000002E-2,0.12,1.4,1.1000000000000001,2,86,9.6999999999999993,25065548]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-03-20",0.97,"<0,01",2.4E-2,8.2000000000000003E-2,1.5,1.1000000000000001,2.2999999999999998,78,8.9,25125492]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-04-11",1.2,"<0,01",0.03,9.7000000000000003E-2,1.5,1.3,2.6,74,9.8000000000000007,25162970]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-05-16",1.7,"<0,01",3.3000000000000002E-2,0.1,1.2,1.4,1.9,66,10,25220501]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-06-19",1.7,"<0,01","<0,02",0.08,1.1000000000000001,1.2,2,66,8.1999999999999993,25287618]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-07-11",1.6,"<0,01",6.8000000000000005E-2,0.11,1.9,1,3.2,51,7.3,25323545]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-08-15",1.2,"<0,01","<0,02",7.2999999999999995E-2,1.2,1.1000000000000001,1.9,62,7,25360828]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-09-15",1.1000000000000001,"<0,01",2.9000000000000001E-2,0.1,1.5,1.3,4.0999999999999996,48,6.2,25417203]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-10-10",0.87,"<0,01",2.7E-2,7.8E-2,1.4,1.1000000000000001,4.8,63,6.5,25468699]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-11-14",1.1000000000000001,"<0,01","<0,02",7.8E-2,1.3,1.1000000000000001,4.4000000000000004,71,7.4,25529872]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-12-12",0.8,"<0,01",2.9000000000000001E-2,0.1,1.4,1,3,94,7.7,25567974]
["Höjeå: Lomma Kyrka","24a","2025-01-10",0.81,"<0,01",3.6999999999999998E-2,0.15,1.8,1.2,2.1,92,9.4,25008163]
["Höjeå: Lomma Kyrka","24a","2025-02-13",0.79,"<0,01",4.1000000000000002E-2,0.12,1.4,1.1000000000000001,2.1,85,10,25065553]
["Höjeå: Lomma Kyrka","24a","2025-03-20",0.85,"<0,01",3.2000000000000001E-2,7.5999999999999998E-2,1.5,1.1000000000000001,2.2999999999999998,83,8.5,25125494]
["Höjeå: Lomma Kyrka","24a","2025-04-11",1.3,"<0,01",3.2000000000000001E-2,9.2999999999999999E-2,1.6,1.3,2.6,78,9.6,25162963]
["Höjeå: Lomma Kyrka","24a","2025-05-16",1.7,"<0,01",4.2999999999999997E-2,8.2000000000000003E-2,1.2,1.5,1.7,71,10,25220485]
["Höjeå: Lomma Kyrka","24a","2025-06-19",1.8,"<0,01",2.1999999999999999E-2,0.08,1.2,1.3,1.2,70,8.3000000000000007,25286755]
["Höjeå: Lomma Kyrka","24a","2025-07-11",1.7,"<0,01",2.8000000000000001E-2,9.0999999999999998E-2,1.7,1.1000000000000001,1.2,55,7.7,25323542]
["Höjeå: Lomma Kyrka","24a","2025-08-15",1.6,"<0,01","<0,02",6.6000000000000003E-2,1.2,1.1000000000000001,"<1",60,6.8,25360831]
["Höjeå: Lomma Kyrka","24a","2025-09-15",1.2,"<0,01",3.6999999999999998E-2,0.11,1.5,1.1000000000000001,1.8,50,6.4,25417205]
["Höjeå: Lomma Kyrka","24a","2025-10-10",0.94,"<0,01",3.3000000000000002E-2,8.2000000000000003E-2,1.5,1,3.6,60,5.9,25468702]
["Höjeå: Lomma Kyrka","24a","2025-11-14",1,"<0,01","<0,02",6.5000000000000002E-2,1.3,1.1000000000000001,2.5,77,7.3,25529867]
["Höjeå: Lomma Kyrka","24a","2025-12-12",0.81,"<0,01",3.5000000000000003E-2,0.1,1.4,1,2.8,96,6.8,25567972]
[]
[]
[]
["Bedömningsgrunder"]
[]
[null,"Rastreringen motsvarar bedömningen enligt Naturvårdsverkets bedömningsgrunder (Rapport 4913)"]
["Bedömning","Rastrering","Enhet","As","Pb","Cd",null,"Cu","Cr","Ni","Zn"]
["måttligt höga halter","x,x","µg/l","5-15","1-3","0,1-0,3",null,"3-9","5-15","15-45","20-60"]
["höga halter","x,x","µg/l","15-75","3-15","0,3-1,5",null,"9-45","15-75","45-225","60-300"]
["mycket höga halter","x,x","µg/l",">75",">15",">1,5",null,">45",">75",">225",">300"]
[]
[null,"*"," = värde ej inkommet vid utskriftsdatum",null,null,null,null,"-"," = planerade analyser 2025"]

{"sheet":"Vattenföring","index":6,"n_rows":17,"n_cols":6,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
["Höje å - RECIPIENTKONTROLL  2025"]
[]
[null,"Trolleberg mätstation","Råbydiket   15:1","Önnerups-bäcken"]
["Datum","m3/s","m3/s","m3/s"]
["2025-01-10",5.64,0.84799999999999998,1.08,"Jan"]
["2025-02-13",1.63,0.13100000000000001,0.16600000000000001,"Feb","Jan"]
["2025-03-20",1.01,6.6000000000000003E-2,0.09,"Mars","Feb"]
["2025-04-11",0.78,6.0900000000000003E-2,5.2400000000000002E-2,"April","Mar"]
["2025-05-16",0.67600000000000005,2.52E-2,3.6400000000000002E-2,"Maj","Apr"]
["2025-06-19",0.69899999999999995,1.21E-2,2.1299999999999999E-2,"Jun","Maj"]
["2025-07-11",1.67,4.0899999999999999E-2,1.35E-2,"Jul","Jun"]
["2025-08-15",0.53700000000000003,1.9300000000000001E-2,2.6800000000000001E-2,"Aug","Jul"]
["2025-09-15",1.32,0.13400000000000001,8.5099999999999995E-2,"Sept","Aug"]
["2025-10-10",1.02,0.123,0.13100000000000001,"Okt","Sept"]
["2025-11-14",0.97,3.2300000000000002E-2,5.7099999999999998E-2,"Nov","Okt"]
["2025-12-12",3.14,0.36199999999999999,0.17,"Dec","Nov"]
[null,null,null,null,null,"Dec"]

{"sheet":"Diagram syre, kväve, fosfor","index":7,"n_rows":128,"n_cols":1,"rows_kept":128,"cut":false,"hidden":false,"merged":[]}
["Höje å - RECIPIENTKONTROLL  2025"]
[]
[]
[]
[]
[]
["Diagram över syrgashalt, totalhalten kväve och fosfor under jämna månader 2025."]
[]
[]
["Februari"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["April"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Juni"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Augusti"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Oktober"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["December"]

{"sheet":"Bekämpningsmedel","index":8,"n_rows":43,"n_cols":28,"rows_kept":43,"cut":false,"hidden":false,"merged":[[4,25,7,25],[4,29,7,29],[5,30,7,30],[5,34,7,34],[5,36,7,36],[6,35,7,35],[6,19,7,19],[6,20,7,20],[6,21,7,21],[6,22,7,22],[6,23,7,23],[6,37,7,37],[6,26,7,26],[6,27,7,27],[6,28,7,28],[6,31,7,31],[6,32,7,32],[6,33,7,33]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[null,null,null,null,null,null,"Bedömningsgrunder, gränsvärden och riktvärden"]
[]
[null,null,null,null,null,null,"Havs- och vattenmyndigheten HVMFS 2019:25",null,null,null,"Kemikalieinspektionen",null,null,"SLU",null,null,"Gränsvärde tjänligt dricksvatten"]
["Höje å Lomma kyrka 24a",null,250516,250619,null,null,"Gränsvärden/bedömningsgrunder","Årsmedelvärde, µg/l","Maximal tillåten koncentration, µg/l",null,"Riktvärde ","µg/l",null,"Riktvärden","µg/l",null,"Summa alla undersökta bekämpningsmedel µg/l","Enskilt bekämpningsmedel µg/l"]
["AMPA","ug/l",0.87,0.53,null,null,"Glyfosat",100,"-",null,"Aklonifen",0.2,null,"Bentazone",27,null,0.5,0.1]
["Glyfosat","ug/l",0.12,6.0999999999999999E-2,null,null,"Diuron",0.2,1.8,null,"Bentazon",30,null,"Diflufenikan",0.01]
["2,4-diklorfenoxisyra","ug/l","<0,01","<0,01",null,null,"Aklonifen",0.12,0.12,null,"AMPA",500,null,"MCPA",1]
["2,4-diklorprop","ug/l","<0,01","<0,01",null,null,"Simazin",1,4,null,"Terbutylazin",0.02,null,"Metribuzin",0.08]
["Atrazin","ug/l","<0,01","<0,01",null,null,"Isoproturon",0.3,1,null,"Azoxy-strobin",0.9,null,"Imidakloprid",0.06,null,null,null,null,null,null,null,null,"Diflufenikan","MCPA","Metribuzin","Imidakloprid","Metribuzin"]
["BAM (2,6-diklorbensamid)","ug/l","<0,01","<0,01",null,null,"Atrazin",0.6,2,null,"Biter-tanol",0.3,null,"Metribuzin",0.08,null,null,null,null,null,null,null,null,0.01,1,0.08,0.06,0.08]
["Bentazon","ug/l",1.2E-2,"<0,01",null,null,"Diuron",0.2,1.8,null,"Cyanazin",1]
["Bitertanol","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Diklorprop-P",10]
["Boskalid","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Diflufenikan",5.0000000000000001E-3]
["Cyanazin","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Dimetoat",0.7]
["Desetylatrazin","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Etofumesat",30]
["Desetylterbutylazin","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Fluroxipyr",100]
["Desisopropylatrazin","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Isoproturon",0.3]
["Dimetoat","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Klopyralid",50]
["Diuron","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Kloridazon",10]
["Etofumesat","ug/l","<0,01","<0,01",null,null,null,null,null,null,"MCPA",1]
["Fluroxipyr","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Mecoprop & Mecoprop-P",20]
["Imidakloprid","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Metamitron",10]
["Isoproturon","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Metazaklor",0.2]
["Klopyralid","ug/l","<0,03","<0,03",null,null,null,null,null,null,"Metribuzin",0.08]
["Kloridazon","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Metalaxyl & Metalaxyl-M",60]
["Kvinmerak","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Metsulfuronmetyl",0.02]
["MCPA","ug/l",1.2999999999999999E-2,"<0,01",null,null,null,null,null,null,"Propyzamid",10]
["Mekoprop","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Pirimikarb",0.09]
["Metalaxyl","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Sulfosulfuron",0.05]
["Metamitron","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Tribenuronmetyl",0.1]
["Metazaklor","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Terbutylazin",0.02]
["Metribuzin","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Thifensulfuronmetyl",0.05]
["Metsulfuronmetyl","ug/l","<0,01","<0,01",null,null,null,null,null,null,"Rimsulfuron",0.01]
["Pirimikarb","ug/l","<0,01","<0,01"]
["Propyzamid","ug/l","<0,01","<0,01"]
["Sulfosulfuron","ug/l","<0,01","<0,01"]
["Terbutylazin","ug/l","<0,01","<0,01"]
["Thifensulfuronmetyl","ug/l","<0,01","<0,01"]
["Tribenuronmetyl","ug/l","<0,01","<0,01"]
["Diflufenikan","ug/l","<0,01","<0,01"]
["Irgarol","ug/l","<0,01","<0,01"]
["Simazin","ug/l","<0,01","<0,01"]

{"sheet":"PFAS","index":9,"n_rows":31,"n_cols":16,"rows_kept":31,"cut":false,"hidden":false,"merged":[[22,1,24,2],[22,3,24,4],[22,5,24,6],[22,7,24,8],[25,1,25,8],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,7,26,8],[26,9,26,10],[22,9,24,10],[22,11,24,12],[26,13,26,14],[26,15,26,16],[22,13,24,14],[22,15,24,16],[25,9,25,16],[26,11,26,12]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[]
[null,null,null,null,"PFOS","PFOS","PFOS","PFOA","PFOA","PFOA",null,"Summa"]
["PROVPUNKT","ID","Datum","PFHxS","linjär","grenad","total","linjär","grenad","total","PFNA","4 PFAS"]
[null,"-","-","ng/l","ng/l","ng/l","ng/l","ng/l","ng/l","ng/l","ng/l","ng/l"]
["Dynnbäck: Vesumsvägen",17,"2025-06-19","<0,3",0.84,0.63,1.5,1.7,"<0,3",1.7,"<0,6",3.2]
["Dynnbäck: Vesumsvägen",17,"2025-12-12",0.46,0.22,0.24,0.46,1.6,"<0,3",1.6,"<0,6",2.5]
[null,null,"medel",null,null,null,{"$f":"AVERAGE(G6:G7)","v":0.98}]
["Höje å: Uppströms Källby ARV",20,"2025-06-19","<0,3",0.45,0.39,0.84,0.87,"<0,3",0.87,"<0,6",1.7]
["Höje å: Uppströms Källby ARV",20,"2025-12-12","<0,3","<0,2","<0,2","<0,2",0.65,"<0,3",0.65,"<0,6",0.65]
[null,null,"medel",null,null,null,0.48499999999999999]
["Höje å: Nedströms Källby ARV",21,"2025-08-15",0.39,0.65,0.37,1,1.4,"<0,3",1.4,"<0,6",2.8]
["Höje å: Nedströms Källby ARV",21,"2025-12-12","<0,3","<0,2","<0,2","<0,2",0.79,"<0,3",0.79,"<0,6",0.79]
[null,null,"medel",null,null,null,0.55000000000000004]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-06-19","<0,3",0.48,"<0,2",0.48,1.2,"<0,3",1.2,"<0,6",1.7]
["Höje å: Nedströms dagv. utl Källby ARV","21a","2025-12-12","<0,3","<0,2",0.3,0.3,0.71,"<0,3",0.71,"<0,6",1]
[null,null,"medel",null,null,null,{"$f":"AVERAGE(G15:G16)","v":0.39}]
[]
[]
["Gränsvärden Havs- och Vattenmyndigheten HVMFS 2019:25"]
[]
[]
[null,"Årsmedelvärde Inlandsytvatten",null,"Årsmedelvärde andra ytvatten",null,"Maximal tillåten koncentration, inlandsytvatten",null,"Maximal tillåten koncentration, andra ytvatten",null,"Årsmedelvärde Inlandsytvatten",null,"Årsmedelvärde andra ytvatten",null,"Maximal tillåten koncentration, inlandsytvatten",null,"Maximal tillåten koncentration, andra ytvatten"]
[]
[]
[null,"µg/l",null,null,null,null,null,null,null,"ng/l"]
["PFOS",6.4999999999999997E-4,null,1.2999999999999999E-4,null,36,null,7.2,null,{"$f":"B27*1000","v":0.65},null,{"$f":"D27*1000","v":0.12999999999999998},null,{"$f":"F27*1000","v":36000},null,{"$f":"H27*1000","v":7200}]
[]
[null,null,"Gulmarkerat värde överskrider gällande gränsvärden"]
[]
[null,"Vid beräkning av medelvärde har halva mindre än-värdet använts"]

{"sheet":"Läkemedelsrester","index":10,"n_rows":31,"n_cols":16,"rows_kept":31,"cut":false,"hidden":false,"merged":[[27,1,27,2],[27,3,27,4],[27,5,27,6],[27,7,27,8],[28,1,28,2],[28,3,28,4],[28,5,28,6],[28,7,28,8],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,7,25,8],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,7,26,8],[24,1,24,4],[24,5,24,8],[1,3,3,3],[23,1,23,2],[23,3,23,4],[23,5,23,6],[23,7,23,8]]}
["Höje å - RECIPIENTKONTROLL  2025"]
[null,null,null,"Diclofenac"]
[]
["PROVPUNKT","ID","Datum",null,"Ciprofloxacin","Estradiol (E2)"]
[null,"-","-","ng/l","ng/l","ng/l",null,null,null,null,null,null,null,"Diclofenac","Ciprofloxacin","Estradiol (E2)"]
["Dynnbäck: Vesumsvägen",17,250619,244.2,"nd","nd",null,null,"LOQ =","Limit of quantification",null,null,"LOQ",1,5,0.1]
[null,17,251212,207.1,"<LOQ","nd",null,null,"nd =","Not detected",null,null,"RSD (%)",3,3.3,3.8]
[null,null,"medel",{"$f":"AVERAGE(D6:D7)","v":225.64999999999998}]
["Höje å: uppstr Lund ARV",20,250619,43.3,"<LOQ","nd"]
[null,20,251212,20,"nd","nd"]
[null,null,"medel",{"$f":"AVERAGE(D9:D10)","v":31.65}]
["Höje å: nedstr Lund ARV",21,250619,86.8,"nd","nd"]
[null,21,251212,108.6,"nd","nd"]
[null,null,"medel",{"$f":"AVERAGE(D12:D13)","v":97.699999999999989}]
["Höje å: Nedströms dagv. utl Källby ARV","21a",250619,82.3,"nd","nd"]
[null,"21a",251212,104,"nd","nd"]
[null,null,"medel",{"$f":"AVERAGE(D15:D16)","v":93.15}]
[]
[]
[]
["Läkemedelsanalyser utfört av MoLab, Kristianstad"]
[]
["Gränsvärden Havs- och Vattenmyndigheten HVMFS 2019:25"]
[null,"Inlandsytvatten",null,"Kustvatten och vatten i övergångszoner",null,"Inlandsytvatten",null,"Kustvatten och vatten i övergångszoner"]
[null,"µg/l",null,null,null,"ng/l"]
["Diklofenak (årsmedelvärde)",0.1,null,0.01,null,{"$f":"B26*1000","v":100},null,{"$f":"D26*1000","v":10}]
["Ciprofloxacin (maxvärde)",0.1,null,0.1,null,{"$f":"B27*1000","v":100},null,{"$f":"D27*1000","v":100}]
["17-alfa-etinylöstradiol (årsmedelvärde)",3.4999999999999997E-5,null,6.9999999999999999E-6,null,{"$f":"B28*1000","v":3.4999999999999996E-2},null,{"$f":"D28*1000","v":7.0000000000000001E-3}]
["17-beta-östradiol (årsmedelvärde)",4.0000000000000002E-4,null,8.0000000000000007E-5,null,{"$f":"B29*1000","v":0.4},null,{"$f":"D29*1000","v":0.08}]
[]
["Gulmarkerat värde överskrider gällande gränsvärde"]